## Raw data
Table 1. Pumping efficiency dataset of PV water pump under different environmental conditions.
Solar radiation (W/m2) | Panel inclination (°) | Panel surface temperature (°C) | Pumping
efficiency (%)
900 | 35 | 45 | 68.3
900 | 25 | 60 | 65.1
600 | 15 | 60 | 61.6
600 | 25 | 45 | 76.3
600 | 15 | 30 | 70.6
300 | 15 | 45 | 55.2
900 | 15 | 45 | 72
900 | 25 | 30 | 74.5
600 | 35 | 60 | 59.4
300 | 25 | 60 | 51.4
600 | 25 | 45 | 77
600 | 25 | 45 | 76.5
300 | 35 | 45 | 54.9
600 | 35 | 30 | 70.5
300 | 25 | 30 | 57.8
Design Summary
File Version | 10.0.1.0
Study Type | Response Surface |  | Subtype | Randomized
Design Type | Box-Behnken |  | Runs | 15
Design Model | Quadratic |  | Blocks | No Blocks | Build Time (ms) | 16
Factor | Name | Units | Type | Subtype | Minimum | Maximum | Coded | Values | Mean | Std. Dev.
A | Solar irradiance | W/m² | Numeric | Continuous | 300 | 900 | -1.000=300 | 1.000=900 | 600 | 226.7787
B | Tilt angle | ° | Numeric | Continuous | 15 | 35 | -1.000=15 | 1.000=35 | 25 | 7.5593
C | anel surface temperature | °C | Numeric | Continuous | 30 | 60 | -1.000=30 | 1.000=60 | 45 | 11.3389
Response | Name | Units | Obs | Analysis | Minimum | Maximum | Mean | Std. Dev. | Ratio | Trans | Model
R1 | Pumping efficiency | % | 15 | Polynomial | 51.4 | 77 | 66.0967 | 8.7663 | 1.4981 | None | Quadratic
Response | 1 | Pumping efficiency
ANOVA for Response Surface Quadratic model
Analysis of variance table [Partial sum of squares - Type III]
| Sum of |  | Mean | F | p-value
Source | Squares | df | Square | Value | Prob > F
Model | 1072.8875 | 9 | 119.2097 | 199.1442 | 7.5503e-06 | significant
A-Solar irradiance | 462.08 | 1 | 462.08 | 771.9216 | 1.1307e-06
B-Tilt angle | 4.774 | 1 | 4.774 | 7.9752 | 0.036932
C-anel surface temperature | 160.026 | 1 | 160.026 | 267.3294 | 1.5611e-05
AB | 2.739 | 1 | 2.739 | 4.5756 | 0.085417
AC | 2.117 | 1 | 2.117 | 3.5366 | 0.11879
BC | 0.99003 | 1 | 0.99003 | 1.6539 | 0.25476
A^2 | 276.3475 | 1 | 276.3475 | 461.6487 | 4.0504e-06
B^2 | 104.3539 | 1 | 104.3539 | 174.327 | 4.4521e-05
C^2 | 121.0705 | 1 | 121.0705 | 202.2528 | 3.0962e-05
Residual | 2.9931 | 5 | 0.59861
Lack of Fit | 2.733 | 3 | 0.91102 | 7.0078 | 0.12743 | not significant
Pure Error | 0.26 | 2 | 0.13
Cor Total | 1075.8805 | 14
The Model F-value of 199.14 implies the model is significant. There is only a 0.01% chance that an F-value this large could occur due to noise.
Values of "Prob > F" less than 0.0500 indicate model terms are significant. In this case A, B, C, A++2+-, B++2+-, C++2+- are significant model terms.
Values greater than 0.1000 indicate the model terms are not significant. If there are many insignificant model terms (not counting those required to support hierarchy), model reduction may improve your model.
The "Lack of Fit F-value" of 7.01 implies the Lack of Fit is not significant relative to the pure error. There is a 12.74% chance that a "Lack of Fit F-value" this large could occur due to noise. Non-significant lack of fit is good -- we want the model to fit.
Std. Dev. | 0.7737 |  | R-Squared | 0.99722
Mean | 66.0967 |  | Adj R-Squared | 0.99221
C.V. % | 1.1706 |  | Pred R-Squared | 0.95881
PRESS | 44.3138 |  | Adeq Precision | 40.718
-2 Log Likelihood | 18.3918 |  | BIC | 45.4723
|  |  | AICc | 93.3918
The "Pred R-Squared" of 0.9588 is in reasonable agreement with the "Adj R-Squared" of 0.9922 i.e. the difference is less than 0.2.
Adeq Precision measures the signal to noise ratio. A ratio greater than 4 is desirable. Your ratio of 40.718 indicates an adequate signal. This model can be used to navigate the design space.
| Coefficient |  | Standard | 95% CI | 95% CI
Factor | Estimate | df | Error | Low | High | VIF
Intercept | 76.6 | 1 | 0.4467 | 75.4517 | 77.7483
A-Solar irradiance | 7.6 | 1 | 0.27354 | 6.8968 | 8.3032 | 1
B-Tilt angle | -0.7725 | 1 | 0.27354 | -1.4757 | -0.069333 | 1
C-anel surface temperature | -4.4725 | 1 | 0.27354 | -5.1757 | -3.7693 | 1
AB | -0.8275 | 1 | 0.38685 | -1.8219 | 0.16693 | 1
AC | -0.7275 | 1 | 0.38685 | -1.7219 | 0.26693 | 1
BC | -0.4975 | 1 | 0.38685 | -1.4919 | 0.49693 | 1
A^2 | -8.6512 | 1 | 0.40265 | -9.6863 | -7.6162 | 1.0111
B^2 | -5.3163 | 1 | 0.40265 | -6.3513 | -4.2812 | 1.0111
C^2 | -5.7263 | 1 | 0.40265 | -6.7613 | -4.6912 | 1.0111
The equation in terms of coded factors can be used to make predictions about the response for
given levels of each factor. By default, the high levels of the factors are coded as +1 and the
low levels of the factors are coded as -1. The coded equation is useful for identifying the
relative impact of the factors by comparing the factor coefficients.
Pumping efficiency (%) = −54.853+0.1549A+2.8956B+2.1723C-0.0003AB −0.0002AC−0.0033BC−0.00010A2−0.0532B2−0.0255C2
Where: A = Solar irradiance, B = Panel inclination, C = Panel surface temperature
The equation in terms of actual factors can be used to make predictions about the response for
given levels of each factor. Here, the levels should be specified in the original units for
each factor. This equation should not be used to determine the relative impact of each factor
because the coefficients are scaled to accommodate the units of each factor and the intercept
is not at the center of the design space.
Response | 1 | Pumping efficiency | Transform: | None
*** WARNING: The Cubic Model and higher are Aliased! ***
Summary (detailed tables shown below)
| Sequential | Lack of Fit | Adjusted | Predicted
Source | p-value | p-value | R-Squared | R-Squared
Linear | 0.018546 | 0.0026031 | 0.46885 | 0.41214
2FI | 0.99048 | 0.0017591 | 0.27918 | 0.092532
Quadratic | 7.6186e-06 | 0.12743 | 0.99221 | 0.95881 | Suggested
Cubic | 0.12743 |  | 0.99831 |  | Aliased
Sequential Model Sum of Squares [Type I]
| Sum of |  | Mean | F | p-value
Source | Squares | df | Square | Value | Prob > F
Mean vs Total | 65531.5402 | 1 | 65531.5402
Linear vs Mean | 626.8801 | 3 | 208.96 | 5.1193 | 0.018546
2FI vs Linear | 5.8461 | 3 | 1.9487 | 0.035179 | 0.99048
Quadratic vs 2FI | 440.1613 | 3 | 146.7204 | 245.1019 | 7.6186e-06 | Suggested
Cubic vs Quadratic | 2.733 | 3 | 0.91102 | 7.0078 | 0.12743 | Aliased
Residual | 0.26 | 2 | 0.13
Total | 66607.4207 | 15 | 4440.4947
I+"Sequential Model Sum of Squares [Type I]"0+: Select the highest order polynomial where the
additional terms are significant and the model is not aliased.
Lack of Fit Tests
| Sum of |  | Mean | F | p-value
Source | Squares | df | Square | Value | Prob > F
Linear | 448.7404 | 9 | 49.86 | 383.5388 | 0.0026031
2FI | 442.8944 | 6 | 73.8157 | 567.8133 | 0.0017591
Quadratic | 2.733 | 3 | 0.91102 | 7.0078 | 0.12743
Cubic | 0 | 0
Pure Error | 0.26 | 2 | 0.13
Model Summary Statistics
| Std. |  | Adjusted | Predicted
Source | Dev. | R-Squared | R-Squared | R-Squared | PRESS
Linear | 6.3889 | 0.58267 | 0.46885 | 0.41214 | 632.4635
2FI | 7.4427 | 0.5881 | 0.27918 | 0.092532 | 976.327
Quadratic | 0.7737 | 0.99722 | 0.99221 | 0.95881 | 44.3138
Cubic | 0.36056 | 0.99976 | 0.99831 |  | +

## Table
Table 1. Pumping efficiency dataset of PV water pump under different environmental conditions.
Solar radiation (W/m2) | Panel inclination (°) | Panel surface temperature (°C) | Pumping
efficiency (%)
900 | 35 | 45 | 68.3
900 | 25 | 60 | 65.1
600 | 15 | 60 | 61.6
600 | 25 | 45 | 76.3
600 | 15 | 30 | 70.6
300 | 15 | 45 | 55.2
900 | 15 | 45 | 72
900 | 25 | 30 | 74.5
600 | 35 | 60 | 59.4
300 | 25 | 60 | 51.4
600 | 25 | 45 | 77
600 | 25 | 45 | 76.5
300 | 35 | 45 | 54.9
600 | 35 | 30 | 70.5
300 | 25 | 30 | 57.8
Table 2. ANOVA for response surface quadratic model.
ANOVA for response surface quadratic model | List
| SS | DF | MS | F-Value | p-value
Source
Model | 1072.9 | 9 | 119.2 | 199.1 | >0.0001
A-Solar irradiance | 462.1 | 1 | 462.1 | 771.9 | >0.0001
B-Panel inclination | 4.8 | 1 | 4.8 | 8 | 0.03693
C-Panel surface temperature | 160 | 1 | 160 | 267.3 | >0.0001
AB | 2.7 | 1 | 2.7 | 4.6 | 0.08542
AC | 2.1 | 1 | 2.1 | 3.5 | 0.11879
BC | 1 | 1 | 1 | 1.7 | 0.25476
A^2 | 276.3 | 1 | 276.3 | 461.6 | >0.0001
B^2 | 104.4 | 1 | 104.4 | 174.3 | >0.0001
C^2 | 121.1 | 1 | 121.1 | 202.3 | >0.0001
Table 3. RSM model coefficients and confidence intervals for PV water pump efficiency.
Factor | Coefficient |  | Standard | 95% CI | 95% CI
| Estimate | df | Error | Low | High
Intercept | 76.6 | 1 | 0.447 | 75.452 | 77.748
A-Solar irradiance | 7.6 | 1 | 0.274 | 6.897 | 8.303
B-Panel inclination | -0.77 | 1 | 0.274 | -1.476 | -0.069
C-panel surface temperature | -4.47 | 1 | 0.274 | -5.176 | -3.769
AB | -0.83 | 1 | 0.387 | -1.822 | 0.167
AC | -0.73 | 1 | 0.387 | -1.722 | 0.267
BC | -0.5 | 1 | 0.387 | -1.492 | 0.497
A^2 | -8.65 | 1 | 0.403 | -9.686 | -7.616
B^2 | -5.32 | 1 | 0.403 | -6.351 | -4.281
C^2 | -5.73 | 1 | 0.403 | -6.761 | -4.691

## Figure
Fig. 1. Normal probability plot of externally studentized residuals for evaluating the adequacy of the regression model.
Fig. 2. Perturbation plots illustrating the individual and interactive effects of solar irradiance, panel inclination, and panel surface temperature on the efficiency of the solar-powered water pumping system.
Fig. 3. Response surface (a1-a3) and contour plots (b1-b3) showing the interactive effects of solar radiation, panel inclination, and panel surface temperature on pumping efficiency. Statistically significant differences were assessed using RSM ANOVA with a multiple comparison test, with significance values (∗p < 0.0001) reported.